Statutory Instrument of 2022						[CAP.

Manyame Rural District Council   Building By- laws, 2022

arrangement of sections

Section

1.	Title.

2.	Interpretation.

3. Notice of plans

4. Fees

5. Approval or dismissal of plans

6. Copy of approved plans

7. Works not in accordance with approved plans or by-laws

8. Lapse of Manyame Rural District Council  ’s approval

9. Boundaries

10. Completion, occupation and use of buildings

11. Buildings not completed

12. Temporary buildings

13. Powers of inspection

14. Overcrowding and unhealthy living conditions

15. Repeal

FIRST SCHEDULE: Notice of intention to erect new buildings.

SECOND SCHEDULE: Offences and penalties.

IT is hereby notified that the Minister of Local Government and Public Works has, in terms of section 90 of the Rural District Council  s Act [Chapter 29:13], approved the following by-laws made by the—

Title

1. These by-laws may be cited as the Manyame Rural District Council   Building By-laws

Interpretation

2. In these by- laws—

“approved” means approved by Manyame Rural District Council

“boundary peg” means an object or mark on the ground defining or indicating a corner of a piece of land in respect of which a general plan or diagram has been approved by the Surveyor General;

“building inspector” means the officer assigned to do building inspections for  Manyame Rural District Council;

“building inspection” means the assessment and monitoring of the structural and health compliance of a building during and after construction of the building.

“Council” means Manyame Rural District Council;

“latrine” means but is not limited to water closet, aqua-privy, earth closet, pail latrine device approved by a  Environmental Health Practitioner inspector, which is being, has been, or intended to be used for the disposal of human waste or excremental matter;

“new building” newly constructed structures of all types and any alteration of a building after the date of commencement of the by-laws by which the cubic content of the building is increased by an amount of a third or more of the original cubic content of the building, or any building erected for the temporary purpose or period of new building;

“owner” means in relation to any stand or premises, the person in whose name the lease or title to such stand or premises is registered, and includes an agent of the owner legally entitled to act on behalf of the owner in respect of such property or premises;

“premises” means—

- any building, or erection, above or below the ground, and the land authorised for occupation or used in connection therewith; or

- any land used, or intended to be used, for carrying on any trade or business;

- as defined in the Public Health Act [Chapter 15:17]

“private dwelling” means any dwelling- house or proportion of a building or flat designed for occupation by an individual or family and in which facilities are provided for cooking or the installation of cooking equipment;

“property” means any land, including a stand;

“stand” means a lot or plot shown on an approved general plan or diagram relating to any area within the jurisdiction of the Manyame Rural District Council  ;

“Chief Executive Officer” means Chief Executive Officer appointed in terms of Section 66 of the Rural District Council  s  Act [Chapter 29:13].

‘Council

Notices of Plans

3. (1) Any person intending to erect any new buildings and/or perimeter walls shall lodge with the Chief Executive Officer—

(a)	 a notice of such intention in the form prescribed in the First Schedule; and

(b) 	in triplicate, fully dimensioned and annotated plans, elevations and sections of the work intended to be performed, drawn to a scale of 1:100, and on a paper not less than an A3; giving full details of size and materials to be used in constructing the building and structural details shown; and

(c) 	in triplicate, site plans drawn to a scale of 1:200, showing the positions of all proposed and existing wells, boreholes, rivers or watercourses on the property, boundary lengths, the proposed or existing vehicular access to the property and the direction of true north and scales used; and

(d) 	any written authority required by the condition of establishment of any private township established in terms of the Regional, Town and Country Planning Act [Chapter 29:12].

(e)  any stand owner who implements an unapproved plan shall be guilty of an offense and liable to a fine prescribed in the approved Council  budget.

(f) Any artisan who conducts any works using an unapproved plan shall be guilty of an offense and liable to a fine prescribed in the approved Council  budget.

(2).	 Subsection (1) shall not apply to any temporary building situated on a construction site and used for storage or as an office, a house or latrine during the course of, and for the purposes of construction of a building.

Fees

4.  Within ten working days of the receipt of plans lodged with the Chief Executive Officer in terms of section 3 above and upon payment of building plan approval fee specified in the approved budget, the  Council shall notify the outcome  of such plan or any part thereof.

Registration of Artisans and Architects

5.  (1) All artisans and architects who intend to carry out any works or operate within the Council area of jurisdiction shall be required to register with the  Council prior to commencement of the said activities.

(2) All artisans and architects shall pay a non-refundable registration fee annually as per the approved budget.

(3) The Council reserves the right to register or deregister any artisans or architects subject to the registration conditions by the  Council from time to time.

(4) Any artisan or architect who operates without registration by the Council shall be guilty of an offense and liable to a fine prescribed in the approved Council  budget.

Approval or  dismissal of plans

6. (1) The Council may approve  plans submitted in terms of section 3, however the Council may dismiss such aplications on the grounds that a new building to which the plans relate —

(a) contravenes these by-laws or any other enactment; or

(b) contravenes any approved layout plans or general plan; or

(c)	leads to conditions which are unhealthy or dangerous; or

(d)	may be objectionable by reason of the nature of the building itself, the use to which it will be put or its situation or environment ; or

(e ) that the property for which the plan is being approved is not up to date in terms of payments of  levies and rates; or

(f ) does not have a satisfactory plan  health  certificate.

(g) was drawn by architects not on Council’s register.

(h)  Any plans which are not reasonably clear in meaning and visibility or complete in details shall be dismissed by the  Council.

(2). In approving any plans, the Council may impose such conditions as it considers necessary to ensure compliance with these by-laws.

(3). No person shall commence any work on any new building until the plans thereof have been approved by the Council in accordance with this section.

(4). Any plans which are designed by an unregistered Architect shall be not be accepted and shall be dismissed and barred from appraisal by the  Council.

(5). Any monies paid towards plan approval by an unregistered architect shall non-refundable.

Copy of approved plans to be kept on site

7.(1) An approved copy or certified photocopy of a plan which has been submitted to, and approved by the Council in terms of these by-laws shall be kept at the site where the building or perimeter wall is being erected.

(2). The approved copy or certified photocopy of the plan referred to in subsection (1) shall be made available for inspection by a building inspector at any reasonable time.

(3). Anyone who fails to produce a copy or certified photocopy of an approved plan at the construction site shall be guilty of an offence and liable to a fine prescribed in the approved Council  budget.

Works not in accordance with approved plan or by-laws

8. (1) Where the building has been erected otherwise than in accordance with the plans approved in terms of section 6 or any other requirement of these by-laws, the Council may in writing, direct that such building be altered, removed or demolished, and that any further work on the building shall cease until requirements of these by-laws or any other enactment have been complied with.

(2) If a directive made in terms of subsection (1) is not obeyed within such time as may be specified, the Council may enter upon the property and alter, remove or demolish the building subject to section 74 of the Constitution and Sections 32, 33 and 34 of the Regional, Town and Country Planning Act.

(3) Notwithstanding this section, minor variations from the approved plans may be authorised, in writing, by the Planner, Civil Engineer or any delegated technical person in those fields after payment of the requisite fees as per the approved budget.

(4) Any person who carries out minor variations without the authority as in sub section 3 above shall be guilty of an offence and liable to a fine prescribed in the approved Council  budget.

Lapse of  plan approval

9. (1) Plans approved by Council shall be valid  for a period of 12 months after approval date within which period erection of the building should have commenced.

(2) Lapsed plans shall be renewed annually subject to payment of renewal fees set in the approved budget.

(3) Any person who uses a lapsed plan for the purposes of construction shall be guilty of an offence and liable to a fine prescribed in the approved Council  budget.

(4)  An approved plan shall cease to be eligible for renewal upon expiry of a lease agreement or development permit.

Boundaries

10. (1) The owner of any property on which a new building is being erected shall—

(a)	cause the boundary pegs of the property to be clearly exposed; and

(b) 	where required by a building inspector, furnish a certificate that buildings being erected on the stand named in the approved plan, and that the boundary pegs indicated on the plans are those of the property in question.

(2) Where the owner of the property requires re-identification of the pegs for whatsoever reason, the Council shall charge the re-identification fee specified in the approved budget.

(3) Any person who tempers with boundary pegs shall be guilty of an offence and liable to a fine prescribed in the approved Council  budget

(4) Any person who encroaches any boundary line shall be guilty of an offence and liable to a fine prescribed in the approved Council  budget.

(5)  Any erection or building   that encroaches any boundary or building line and materially breaches planning schemes shall be demolished.

Completion, occupation and use of buildings

11. (1) Within fourteen days of the completion of a new building, the owner of the building shall give a notice to Council of such completion.

(2) Council shall at all reasonable times within seven days after receiving the notice referred to in subsection (1) have access to the completed new building for the purpose of ensuring that these by-laws have been complied with.

(3) The owner shall be issued a certificate of occupation upon completion of the buildings and payment of the fees specified in the approved budget.

(4) Any person who occupies a building without obtaining a certificate of occupation shall be guilty of an offence and liable to a fine prescribed in the approved Council  budget.

Temporary buildings

12. (1) Every person intending to erect separate employee accommodation, tool-sheds, change-rooms, or fowl-houses shall apply to the Council in writing, the intention to erect such a temporary building subject to payment of a fee and complying to other such conditions as may be imposed; or

(2) Any person who contravenes subsection (1) above shall be guilty of an offence and liable to a fine prescribed in the approved Council  budget.

(3) No person shall—

(a)	use or permit use on his or her property of any temporary building purposes other than those authorised by Council or for the period in excess of that prescribed by the Council; or

(b) 	erect, use or permit the erection on his or her property of any temporary buildings without the written approval of the  Council.

(4) Any person who contravenes the provisions of sub section 3 (a) and (b) above shall be guilty of an offence and liable to a fine prescribed in the approved Council  budget.

Powers of Inspector

13.(1) The building inspector may enter any property at any reasonable time—

(a)	 to ascertain whether any works which require the approval of the Council are carried out; or

(b)	 to inspect any work at any stage of its progress after paying the requisite fees as prescribed in the budget.

(c)   to inspect any building or structure to ascertain whether it is in such condition as to be ruinous, dangerous or likely to be prejudicial to the safety or health of the occupants;

(2) Any person who obstructs a building inspector from entering any property at any reasonable time shall be guilty of an offence and liable to a fine prescribed in the approved Council  budget.

Cleansing site on completion of work

14. As soon as any buildings are completed, all refuse, debris, and temporary latrines or similar structures, shall be removed by the owner from the site on which works have been carried out and from any adjoining land which may have been used for storage of refuse or debris.

FIRST SCHEDULE (Section (3)(a)

Notice of intention to erect new buildings

Every notice of intention to erect new buildings to be accompanied with:

- The prescribed fees specified in the Second Schedule

- Triplicate plans, elevations and drawn to scale not less than 1:100 giving full details of sizes, materials and where required fittings and furnishings

- Triplicate block plans drawn to scale not less than 1:500 clearly indicating true north and showing position of all proposed and existing buildings, proposed or existing domestic workers quarters, details of sanitary arrangements, or boreholes any rivers of water courses and the proposed or existing vehicular exist wells access to the property.

- Plot number ……………….……………Name of road……………………………….

- Owner (name and address)………………………………………….………………….

…………………………………………………………………………………………..

- Architect (if any) (name and address)………………….……………………………….

…………………………………………………………………………………………..

- Estimated cost US $.…………………………………………………………………..

- Is it new work, alteration or additions?……………………..……………………………

- What is to be constructed?……………………………………………………………….

- For what purposed are the buildings to be used?.............................................................

- Floor area to be covered by the buildings to be used?.....................................................

- Main building………………………………………

- Out building…………………………………………

- When are works to commence?……………………………………………………

Date…………………………Signature……………………………………………………..

SCHEDULE OF OFFENCES

| Offence | Level |
| --- | --- |
| Use of building without certificate of occupation | As per budget |
| Inspection fees | As per budget |
| Encroachment fees | As per budget |
| Certificate of Occupation | As per budget |
| Replacement of lost pegs | As per budget |